CONTENTS

CHAPTER	1    SYSTEM SPECIFICATIONS				1

DEFAULT VALUES					5

DEVICES						5

OPERATING SYSTEM					6

CHAPTER	2 	   LOCATION SPECIFICATIONS				5

- 2.1.   LOCATION MANAGEMENT				6

- 2.2.   DATA CENTER MANAGEMENT				7

- 2.3.   COORDINATING MANAGEMENT				8

CHAPTER        3    CABLE SPECIFICATIONS				9

- 3.1.   CABLE CATEGORY MANAGEMENT			10

- 3.2.   CABLE MODEL MANAGEMENT				11

- 3.3.   CABLE MANAGEMENT					12

CHAPTER        4    FABRIC SPECIFICATIONS				13

  - SAN GROUP MANAGEMENT				14

  - SAN MANAGEMENT					15

CHAPTER        5    RACK SPECIFICATIONS				16

  - NEW RACK						17

  - RACK MANAGEMENT					18

  - RACK DETAILS						19

CHAPTER        6    DASD SPECIFICATIONS				20

  - NEW DASD						21

  - DASD MANAGEMENT					22

  - DASD CU TYPE MANAGEMENT 				23

  - DASD DETAILS						24

CHAPTER        7    DATA CENTER CONNECTIONS				25

  - NEW CONNACTION					26

  - CONNACTION MANAGEMENT				27

  - CONNECTION DETAILS					28

CHAPTER        8    BLECH SPECIFICATIONS				29

  - NEW BLECH						30

  - BLECH MANAGEMENT					31

  - BLECH TYPE MANAGEMENT				32

  - BLECH DETAILS					33

CHAPTER        9    VT PORT SPECIFICATIONS				34

  - NEW VT PORT						35

  - VT PORT MANAGEMENT					36

  - VT PORT DETAILS					37

CHAPTER       10   SWITCH SPECIFICATIONS				38

  - NEW SWITCH						39

  - SWITCH MANAGEMENT					40

  - SWITCH TYPE MANAGEMENT				41

  - SWITCH DETAILS					42

CHAPTER      11   CONNECTION   SPECIFICATIONS			43

  - NEW CONNECTION					44

  - CONNECTION MANAGEMENT				45

CHAPTER      12   USER   SPECIFICATIONS					46

  - NEW  USER						47

  - USER  MANAGEMENT					48

CHAPTER      13   TOOLS   SPECIFICATIONS				49

  - EXCEL IMPORT						50

CHAPTER      14   REPORTS / FILTER / PRINT / EXPORT			51

  - KATEGORIZED REPORTS					52

  - KATEGORIZED AUTOFILTER				53

  - PRINT								54

  - PDF,HTML,MHT,RTF,CSV,TEXT,IMAGE EXPORT		55

CHAPTER      15 KABMAN SERVER TOOLS				56

INTRODUCTION

CABLING MANAGEMENT SYSTEM

The program does consist of two parts :

- KabMan Client

KabMan Client enables you to add ,modify and delete the data .It prevents the system from wrong data entries.Furthermore ,it detects empty connections and provides an effective use of these in system again.

- KabMan Server Tools

KabMan Server Tools uses SNMP as a protocol ,so it gets the correct results from the hardware and compares these with the current data in KabMan Client ,where then these results are updated.

CHAPTER

SYSTEM SPECIFICATIONS

System adjustments, the origin of KabMan, are one of the main modules in this program. Because of its integrity with other modules ,the changes in itself  provide a general configuration of whole system ,containing  Rack ,Switch ,Dasd ,Blech ,Vt Port. It is then possible to make additional changes, ones it is saved .This character of KabMan enables him to integrate any other systems.

Important: Professional support by a technician on this adjustments and savings is strongly recommended!

DEFAULT VALUES

- DEFAULT VALUES

- IT DEFINES THE GENERAL CONFIGURATION REGULATIONS.

- YOU CAN GO INTO THE SAMPLES BELOW:

- 1. SAMPLE

- 2. SAMPLE

- 3. SAMPLE

DEVICES

- DEVICES

- SECTION 1: GENERAL HARDWARE DEFINITIONS

- SECTION 2: HARDWARE DEFINITIONS FOR BLECH AND VT-PORT

OPERATING SYSTEMS

OPERATING SYSTEMS

- IT DEFINES THE OPERATING SYSTEMS.

CHAPTER

LOCATION SPECIFICATIONS

This module is based on the tree modelling.

Location: It consists of two main subjects; Data centre and coordinates.

Many other subjects not mentioned above are classified and operated in the same way. It is possible to update all of these subjects. The subjects, which are a part of an upper subject, must be controlled, before this upper subject is deleted.

LOCATION MANAGEMENT

LOCATION MANAGEMENT

- IT DEFINES THE SETTLED LOCATIONS IN THE SYSTEM.

DATA CENTER MANAGEMENT

DATA CENTER MANAGEMENT

IT IS A DEFINITION SCREEN. CREATES DATA CENTERS UNDER  SELECTED LOCATIONS.

COORDINATING MANAGEMENT

- COORDINATING MANAGEMENT

- IT DEFINES THE COORDINATION, ACCORDING TO THE DATA CENTER VALUES IN THE CHOSEN LOCATION.

CHAPTER

CABLE SPECIFICATIONS

There are three steps on the cable management algorithm: Cable Category Management,

Cable Model Management, Cable Management. The integrity in their own makes it very simple to manage all cables entirely. The Cable Categorization prevents every disorder, which might occur during the application. On the other hand, it is thought as an effective method to succeed very fast in a true result.

CABLE CATEGORY MANAGEMENT

CABLE MODEL MANAGEMENT

CABLE MANAGEMENT

Cable Category Management: It forms different cable categorizations,

which might be added to the system later on.

This module contains two groups: HAS Class and IS Unique Group.

- HAS Class, e.g., A00001.1 trunk cable groups.

- IS Unique Group, e.g.,   A00001 URM URM and URM LC

cable groups.

Cable Model Management: It forms a model under the formed cable categorization mentioned above.

The functional operation: After the cable categorization is chosen, a model is formed with the value definitions of Count in Package, line count per cable, the model name, and length of this categorization.

Added model names can be updated or deleted.

Cable Management: It adds new cables to an appropriate group, according to the chosen category and model.

The functional operation: After the cable category is chosen, it is necessary to choose a model, according to this category. Then a new cable can be added to a group, appropriate to these options. There exists a screen definition of cable specifications.

CHAPTER

FABRIC SPECIFICATIONS

Because of its expandable nature, SAN is thought as a two-step sub module. The first step is a SAN Group. The second

beneath it is the SAN itself. The functional analysis of these two steps is following below:

  - SAN GROUP MANAGEMENT

These created groups are used in many modules on a general system. Therefore it is possible to update their names. Before any deletion, the contents of the modules dependent to these groups must be considered first.

It is sufficient to push the “New” button to give a name to a SAN Group. To delete and update use the “edit” and “slime” buttons on the same screen.

  - SAN MANAGEMENT

It forms the SAN´s in the existing group.

It is impossible to create two SAN´s in a group.

Instructional note: After a chosen SAN Group, define a name for it! Define the Blech, Switch and Data Centre Values and save this process!

CHAPTER

RACK SPECIFICATIONS

Requirements Checklists

INTRODUCTION

System Requirements